## About
Subject | Description
HCIM | nl.zorg.LaboratoryTestResult
Version | 7.1
HCIM Status | Final
Release | 2024
Release status | Published
Release date | 24-04-2024
XLS created on | 27-5-2025 14:10:44
Based on | Release 2024 SNOMED CT version 20250430 [R] (april 2025-editie) LOINC version 2.77
Managed by | Nictiz, Den Haag
Concept | A laboratory result describes the result of a laboratory analysis. These are specimen-oriented tests as performed in laboratories such as Clinical Chemistry, Serology, Microbiology, etc. In addition to the results of tests with a singular result, this concept can also contain the results of more complex tests with multiple results or a ‘panel’.
Purpose | Laboratory tests are done for the purpose of diagnosing and preventing disease and follow-up on the effects of treatment.
Evidence Base | There are two information models for recording laboratory test results: TextResult and LaboratoryTestResult. In the case of laboratory test results, it is difficult to clearly indicate exactly when to use this information model and when to use the TextResult information model. In general, laboratory tests resulting in a value (7.1 mmol/L), ordinal number (++ from series to ++++) or a quantitative result (Low) are recorded using this information model. The TextResult information model is better suited for textual results that are more descriptive in nature and which are longer than just a few words. Both types of tests occur in almost all laboratories. The applicability of the aforementioned information models is not determined by the kind of lab but by the kind of result.

## Metadata
Metadata
DCM::CoderList | Kerngroep Registratie aan de Bron
DCM::ContactInformation.Address | *
DCM::ContactInformation.Name | *
DCM::ContactInformation.Telecom | *
DCM::ContentAuthorList | Projectgroep Generieke Overdrachtsgegevens & Kerngroep Registratie aan de Bron
DCM::CreationDate | 7-6-2012
DCM::DeprecatedDate
DCM::DescriptionLanguage | nl
DCM::EndorsingAuthority.Address
DCM::EndorsingAuthority.Name | PM
DCM::EndorsingAuthority.Telecom
DCM::Id | 2.16.840.1.113883.2.4.3.11.60.40.3.13.1
DCM::KeywordList | laboratorium uitslag, lab, laboratorium bepaling
DCM::LifecycleStatus | Final
DCM::ModelerList | Kerngroep Registratie aan de Bron
DCM::Name | nl.zorg.LaboratoriumUitslag
DCM::PublicationDate | 24-04-2024
DCM::PublicationStatus | Published
DCM::ReviewerList | Projectgroep Generieke Overdrachtsgegevens & Kerngroep Registratie aan de Bron
DCM::RevisionDate | 10-04-2025
DCM::Supersedes | nl.zorg.LaboratoriumUitslag-v7.0
DCM::Version | 7.1
HCIM::PublicationLanguage | EN

## Data
Concept |  |  | Alias | Type | Card. | Stereotype | Id | Definition | DefinitionCode | Reference | Constraints
LaboratoryTestResult |  |  | NL: LaboratoriumUitslag |  |  | rootconcept | NL-CM:13.1.1 | Root concept of the LaboratoryTestResult information model. This root concept contains all data elements of the LaboratoryTestResult information model.
| Specimen |  | NL: Monster |  | 0..1 | container | NL-CM:13.1.2 | Container of the concept Specimen. This container contains all data elements of the concept Specimen. A completed container is related to a sample from the Snomed Hierarchy. If the TestCode implicitly also describes a specimen (often the case if coded in LOINC), elements within the concept specimen may not conflict with it. However, if desired, these data can provide a more detailed description.This is in line with the agreements made in the IHE/Nictiz e-Lab programme. | SNOMED CT: 123038009 Specimen
|  | SpecimenId | NL: Monsternummer | II | 0..1 | data | NL-CM:13.1.15 | Identification number of the material obtained, as a reference for inquiries to the source organization. In a transmural setting, this number will consist of a specimen number including the identification of the issuing organization, to be unique outside of the borders of an organization.
|  | SpecimenNumberExtension | NL: Monstervolgnummer | INT | 0..1 | data | NL-CM:13.1.20 | The specimen number extension is used when the collected material is distributed from the original tube or container across multiple tubes. In combination with the specimen Id the extension yield a unique identification of the tube or container
|  | ContainerType | NL: Containertype | CD | 0..1 | data | NL-CM:13.1.21 | Container type describes the envelope in which the material is collected or sent. Examples include blood tubes, transport container, possibly including culture medium. | SNOMED CT: 706046003 Specimen receptacle | ContainerTypeCodelist
|  | SpecimenMaterial | NL: Monstermateriaal | CD | 0..1 | data | NL-CM:13.1.16 | Specimen material describes the base material or specimen type taken. For example: Urine, blood, Saliva etc or aspirate from jejunum, biopsy of cartilage etc.. This element refers to the Substance or Specimen hierarchy in Snomed. If the Specimen branch is used for this data element, it must not contradict other elements in this zib. | SNOMED CT: 370133003 Specimen substance | SpecimenMaterialCodelist
|  | AnatomicalLocation | NL: AnatomischeLocatie |  | 0..1 | data,reference | NL-CM:13.1.36 | Anatomical location where the material is collected, e.g. elbow. | SNOMED CT: 405814001 Procedure site - Indirect | This is a reference to the rootconcept of information model AnatomicalLocation.
|  | Microorganism | NL: Microorganisme | CD | 0..1 | data | NL-CM:13.1.22 | In particular in microbiological determinations the subject of the test is an isolate of a certain microorganism rather then a material. This concept provides the ability to capture information about this microorganism. |  | MicroorganismCodelist
|  | Morphology | NL: Morfologie | CD | 0..1 | data | NL-CM:13.1.28 | Morphology describes morphological abnormalities of the anatomical location where the material is taken, for example wound, ulcer. | SNOMED CT: 118168003 Specimen source morphology | MorphologyCodelist
|  | SpecimenSource | NL: BronMonster | CD | 0..1 | data | NL-CM:13.1.29 | If the material is not collected directly from the patient but comes from a patient-related object, e.g. a cathetertip, this source of material can be recorded here. | SNOMED CT: 898201001 Specimen from device | SpecimenSourceCodelist
|  | Comment | NL: Toelichting | ST | 0..1 | data | NL-CM:13.1.19 | Comments on the specimen , such as drawing material after a (glucose) stimulus or taking medicine. | LOINC: 48767-8 Annotation comment [Interpretation] Narrative
| LaboratoryTest |  | NL: LaboratoriumTest |  | 0..* | container | NL-CM:13.1.3 | Container of the LaboratoryTest concept. This container contains all data elements of the LaboratoryTest concept.
|  | TestCode | NL: TestCode | CD | 1 | data | NL-CM:13.1.8 | The name and code of the executed test. |  | TestCodeNHGCodelist
TestNameLOINCCodelist
|  | TestMethod | NL: Testmethode | CD | 0..1 | data | NL-CM:13.1.9 | The test method used to obtain the result. | SNOMED CT: 246501002 Technique | TestMethodCodelist
|  | TestDateTime | NL: TestDatumTijd | TS | 0..1 | data | NL-CM:13.1.13 | The date and if possible the time at which the test was carried out.
|  | TestResult | NL: TestUitslag | ANY | 0..1 | data | NL-CM:13.1.10 | The test result. Depending on the type of test, the result will consist of a value with a unit or a coded value (ordinal or nominal). |  | TestResultCodelist
|  | TestResultStatus | NL: TestUitslagStatus | CD | 0..1 | data | NL-CM:13.1.31 | The status of the test result of this test. If the laboratory test is a panel/cluster, the overall status is given in the status of the panel/cluster. | LOINC: 92236-9 Lab observation result status | TestResultStatusCodelist
|  | ReferenceRangeUpperLimit | NL: ReferentieBovengrens | ANY | 0..1 | data | NL-CM:13.1.11 | The upper reference limit for the patient of the value measured in the test. |  |  | If the result has reference values, then the data type of the result and reference values must be the same.,If the result has data type PQ and there are reference values, then the unit of the result and reference value must be the same.
|  | ReferenceRangeLowerLimit | NL: ReferentieOndergrens | ANY | 0..1 | data | NL-CM:13.1.12 | The lower reference limit for the patient of the value measured with the test. |  |  | If the result has reference values, then the data type of the result and reference values must be the same.,If the result has data type PQ and there are reference values, then the unit of the result and reference value must be the same.
|  | ResultFlags | NL: InterpretatieVlaggen | CD | 0..1 | data | NL-CM:13.1.14 | Attention codes indicating whether the result of a quantitative test is above or below certain reference values or interpreting the result otherwise.(Resistent). The values Resistant, Intermediate en Susceptible are used with microbiological test results. | SNOMED CT: 363713009 Has interpretation | ResultFlagsCodelist
|  | ResultInterpretation | NL: UitslagInterpretatie | ST | 0..1 | data | NL-CM:13.1.32 | Comment of the laboratory specialist regarding the interpretation of the results | SNOMED CT: 441742003 Evaluation finding
| PanelOrBattery |  | NL: Onderzoek | CD | 0..1 | data | NL-CM:13.1.4 | For laboratory tests comprising multiple subtests and often requested together as a whole, this concept contains the name of the compound request (often indicated as a ‘panel’, ‘battery’ or ‘cluster’). Examples include: blood gases and EBV serology. |  | PanelOrBatteryCodelist
| ResultStatus |  | NL: ResultaatStatus | CD | 0..1 | data | NL-CM:13.1.6 | The status of the laboratory test result. If the laboratory test is a panel/cluster, this status reflects the status of the whole panel/cluster. If the status item per subtest is used too, this status must be in accordance with these status values. | LOINC: 92235-1 Lab order result status | ResultStatusCodelist
| Comment |  | NL: Toelichting | ST | 0..1 | data | NL-CM:13.1.5 | Comments, such as a textual interpretation or advice accompanying the result, for example. | LOINC: 48767-8 Annotation comment [Interpretation] Narrative
| ResultType |  | NL: ResultaatType | CD | 0..1 | data | NL-CM:13.1.7 | The type of result defines the laboratory specialty under which the test is categorized. |  | ResultTypeCodelist
| RelatedResult::LaboratoryTestResult |  | NL: GerelateerdeUitslag::LaboratoriumUitslag |  | 0..* | data,reference | NL-CM:13.1.33 | Reference to related tests, e.g. paired tests or sequential tests like gram staining and microbiological cultures. It concerns previous results that collectively lead to the current interpretation. |  | This is a reference to the rootconcept of information model LaboratoryTestResult.
| Performer::HealthcareProvider |  | NL: Uitvoerder::Zorgaanbieder |  | 0..1 | context,reference | NL-CM:13.1.35 | The healthcare provider who is responsible for the excecution of the laboratory examination and delivering the Laboratory result. |  | This is a reference to the rootconcept of information model HealthcareProvider.

## ContainerTypeCodelist
ContainerTypeCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.9
Conceptname | Codesystem name | Codesystem OID
434711009¦Specimen container¦ | SNOMED CT | 2.16.840.1.113883.6.96
260787004¦Physical object¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## MicroorganismCodelist
MicroorganismCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.10
Conceptname | Codesystem name | Codesystem OID
2581000146104¦Dutch microorganism simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## MorphologyCodelist
MorphologyCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.13
Conceptname | Codesystem name | Codesystem OID
49755003¦Morphologically abnormal structure¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## PanelOrBatteryCodelist
PanelOrBatteryCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.5
Conceptname | Codesystem name | Codesystem OID
All values | LOINC | 2.16.840.1.113883.6.1
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## ResultFlagsCodelist
ResultFlagsCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.7
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Above reference range | 281302008 | SNOMED CT | 2.16.840.1.113883.6.96 | Boven referentiewaarde
Below reference range | 281300000 | SNOMED CT | 2.16.840.1.113883.6.96 | Onder referentiewaarde
Intermediate | 11896004 | SNOMED CT | 2.16.840.1.113883.6.96 | Intermediair
Resistant | 30714006 | SNOMED CT | 2.16.840.1.113883.6.96 | Resistent
Susceptible | 131196009 | SNOMED CT | 2.16.840.1.113883.6.96 | Sensitief
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Extensible
Status | Active

## ResultStatusCodelist
ResultStatusCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.8
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Pending | pending | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Uitslag volgt
Preliminary | preliminary | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Voorlopig
Final | final | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Definitief
Appended | appended | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Aanvullend
Corrected | corrected | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Gecorrigeerd
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Extensible
Status | Active

## ResultTypeCodelist
ResultTypeCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.1
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Hematology test | 252275004 | SNOMED CT | 2.16.840.1.113883.6.96 | Hematologie
Serum chemistry test | 275711006 | SNOMED CT | 2.16.840.1.113883.6.96 | Klinische chemie
Serologic test | 68793005 | SNOMED CT | 2.16.840.1.113883.6.96 | Serologie/ immunologie
Viral studies | 395124008 | SNOMED CT | 2.16.840.1.113883.6.96 | Virologie
Toxicology screening test | 314076009 | SNOMED CT | 2.16.840.1.113883.6.96 | Toxicologie
Microbiology procedure | 19851009 | SNOMED CT | 2.16.840.1.113883.6.96 | Microbiologie
Molecular genetic test | 405825005 | SNOMED CT | 2.16.840.1.113883.6.96 | Moleculaire genetica
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Extensible
Status | Active

## SpecimenMaterialCodelist
SpecimenMaterialCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.6
Conceptname | Codesystem name | Codesystem OID
105590001¦Substance¦ | SNOMED CT | 2.16.840.1.113883.6.96
123038009¦Specimen¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## SpecimenSourceCodelist
SpecimenSourceCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.18
Conceptname | Codesystem name | Codesystem OID
125676002¦Person¦ | SNOMED CT | 2.16.840.1.113883.6.96
276339004¦Environment¦ | SNOMED CT | 2.16.840.1.113883.6.96
260787004¦Physical object¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## TestCodeNHGCodelist
TestCodeNHGCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.16
Conceptname | Codesystem name | Codesystem OID
Alle labbepaling waarden | NHG tabel 45 | 2.16.840.1.113883.2.4.4.30.45
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active
Note: | These are the values of which the field "Soort" contains the letter "L"

## TestMethodCodelist
TestMethodCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.4
Conceptname | Codesystem name | Codesystem OID
272394005¦Technique¦ | SNOMED CT | 2.16.840.1.113883.6.96
260131000146101¦Dutch laboratory test method simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Extensible
Status | Active

## TestNameLOINCCodelist
TestNameLOINCCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.3
Conceptname | Codesystem name | Codesystem OID
All values | Nederlandse Labcodeset | 2.16.840.1.113883.2.4.3.11.51.1
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## TestResultCodelist
TestResultCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.17
Conceptname | Codesystem name | Codesystem OID
2581000146104¦Dutch microorganism simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
46231000146109¦Dutch ordinal test result simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
97801000146108¦Dutch microscopic ordinal test result simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
140301000146101¦Dutch simple reference set for ordinal antimicrobial susceptibility test results¦ | SNOMED CT | 2.16.840.1.113883.6.96
145871000146106¦Dutch mixed flora finding simple reference set¦ | SNOMED CT | 2.16.840.1.113883.6.96
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Required
Status | Active

## TestResultStatusCodelist
TestResultStatusCodelist |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.13.1.15
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Pending | pending | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Uitslag volgt
Preliminary | preliminary | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Voorlopig
Final | final | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Definitief
Appended | appended | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Aanvullend
Corrected | corrected | ResultaatStatus | 2.16.840.1.113883.2.4.3.11.60.40.4.16.1 | Gecorrigeerd
Value Other (OTH) from codesystem NullFlavor (OID: 2.16.840.1.113883.5.1008) is allowed in this valueset.
Extra info
Binding | Extensible
Status | Active

## Terms of Use
Disclaimer
The Health and Care Information Models (a.k.a Clinical Building Block) has been made in collaboration with several different parties in healthcare. These parties asked Nictiz to manage good maintenance and development of the information models. Hereafter, these parties and Nictiz are referred to as the collaborating parties. The collaborating parties paid utmost attention to the reliability and topicality of the data in these Health and Care Information Models. Omissions and inaccuracies may however occur. The collaborating parties are not liable for any damages resulting from omissions or inaccuracies in the information provided, nor are they liable for damages resulting from problems caused by or inherent to distributing information on the internet, such as malfunctions, interruptions, errors or delays in information or services provide by the parties to you or by you to the parties via a website or via e-mail, or any other digital means. The collaborating parties will also not accept liability for any damages resulting from the use of data, advice or ideas provided by or on behalf of the parties by means of the Health and Care Information Models. The parties will not accept any liability for the content of information in this Health and Care Information Model to which or from which a hyperlink is referred. In the event of contradictions in mentioned Health and Care Information Model documents and files, the most recent and highest version of the listed order in the revisions will indicate the priority of the documents in question. If information included in the digital version of a Health and Care Information Model is also distributed in writing, the written version will be leading in case of textual differences. This will apply if both have the same version number and date. A definitive version has priority over a draft version. A revised version has priority over previous versions.
Terms of Use
The user may use the Health and Care Information Models without limitations. The copyright provisions in the paragraph concerned apply to copying, distributing and passing on the Health and Care Information Models.
Copyrights
A Health and Care Information Model qualifies as a work within the meaning of Section 10 of the Copyright Act (Auteurswet). Copyrights protect the Health and Care Information Modesl and these rights are owned by the cooperating parties. The user may copy, distribute and pass on the information in this Health and Care Information Model under the conditions that apply for Creative Commons license Attribution-NonCommercial-ShareAlike 3.0 Netherlands (CC BY-NCSA-3.0). The content is available under Creative Commons Attribution-NonCommercial-ShareAlike 3.0 (see also http://creativecommons.org/licenses/by-nc-sa/3.0/nl/) This does not apply to information from third parties that sometimes is used and / or referred to in a Health and Care Information Model, for example to an international medical terminology system. Any (copyright) rights that protect this information are not owned by the cooperating parties but by those third parties.