## About
Subject | Description
Name | nl.zorg.Bloeddruk
Version | 3.0
Publication | 2016
Created on | 1-9-2016 10:48:20
Based on | "Medische bouwstenen" publicatie 2016
Concept | The blood pressure is a parameter for determining the condition of the blood circulation and is expressed in systolic and diastolic pressure in mmHg.
Purpose | Blood pressure is measured to gain an indication of the health condition of the patient’s cardiovascular system.
Evidence Base | The local measurement of the arterial blood pressure, which acts as a surrogate for the arterial pressure in the systematic circulation. In most cases, the term ‘blood pressure' refers to the measurement of blood pressure of the arteria brachialis in the upper arm with the cuff using the Riva-Rocci method.
The protocol for this measurement comprises many details that are not general knowledge (such as the correct way to interpret Korotkoff sounds) or carried out correctly (adjusting the cuff width to a very large or small diameter of the upper arm, the right rate of descent of the mercury column, cut-off values for cardiac arrhythmias).

## Metadata
Metadata
DCM::CoderList | Kerngroep Registratie aan de Bron
DCM::ContactInformation.Address | *
DCM::ContactInformation.Name | *
DCM::ContactInformation.Telecom | *
DCM::ContentAuthorList | Projectgroep Generieke Overdrachtsgegevens & Kerngroep Registratie aan de Bron
DCM::CreationDate | 29-11-2012
DCM::DeprecatedDate
DCM::DescriptionLanguage | nl
DCM::EndorsingAuthority.Address
DCM::EndorsingAuthority.Name | PM
DCM::EndorsingAuthority.Telecom
DCM::Id | 2.16.840.1.113883.2.4.3.11.60.40.3.12.4
DCM::KeywordList | bloeddruk, diastolische bloeddruk, systolische bloeddruk, tensie
DCM::LifecycleStatus | Final
DCM::ModelerList | Kerngroep Registratie aan de Bron
DCM::Name | nl.zorg.Bloeddruk
DCM::PublicationDate | 42491
DCM::PublicationStatus | Published
DCM::ReviewerList | Projectgroep Generieke Overdrachtsgegevens & Kerngroep Registratie aan de Bron
DCM::RevisionDate | 42095
DCM::Superseeds | nl.nfu.Bloeddruk-v1.2
DCM::Version | 3

## Data
Concept |  | Alias | Type | Card. | Stereotype | Id | Definition | DefinitionCode | Reference | Constraints
Bloeddruk |  | EN: BloodPressure |  | 1 | rootconcept | NL-CM:12.4.1 | Root concept of the BloodPressure information model. This root concept contains all data elements of the BloodPressure information model. | SNOMED CT: 75367002 blood pressure
| Meetmethode | EN: MeasuringMethod | CD | 0..1 | data,enumeration | NL-CM:12.4.7 | The type of method used to measure blood pressure. |  | MeetmethodeCodelijst
| ManchetType | EN: CuffType | CD | 0..1 | data,enumeration | NL-CM:12.4.9 | The size of the cuff used in the measurement. | SNOMED CT: 70665002 blood pressure cuff | ManchetTypeCodelijst
| MeetLocatie | EN: MeasuringLocation | CD | 0..1 | data,enumeration | NL-CM:12.4.10 | Anatomical location where the blood pressure was measured. |  | MeetLocatieCodelijst
| DiastolischEindpunt | EN: DiastolicEndpoint | CD | 0..1 | data,enumeration | NL-CM:12.4.8 | Registration of the Korotkoff sound used to measure diastolic pressure with the auscultatory method. | SNOMED CT: 85549003 Korotkoff sound | DiastolischEindpuntCodelijst
| SystolischeBloeddruk | EN: SystolicBloodPressure | PQ | 1 | data | NL-CM:12.4.2 | The highest (peak) systematic arterial blood pressure - measured in the contraction stage or systole of the cardiac cycle. | SNOMED CT: 271649006 systolic blood pressure
| DiastolischeBloeddruk | EN: DiastolicBloodPressure | PQ | 1 | data | NL-CM:12.4.3 | The lowest systematic arterial blood pressure - measured in the relaxation stage or diastole of the cardiac cycle. | SNOMED CT: 271650006 diastolic blood pressure
| GemiddeldeBloeddruk | EN: AverageBloodPressure | PQ | 0..1 | data,derived | NL-CM:12.4.4 | Average blood pressure during one cycle of the heart contracting and relaxing.
Estimated based on systolic and diastolic blood pressure. This estimate is unreliable in cases of circulatory disorders. This value can only be reliably determined when invasive blood pressure is measured.
SNOMED CT: 6797001 mean arterial pressure
| BloeddrukDatumTijd | EN: BloodPressureDateTime | TS | 1 | data | NL-CM:12.4.5 | The date and time at which these blood pressure values were measured.
| Toelichting | EN: Explanation | ST | 0..1 | data | NL-CM:12.4.6 | Comments on the measured blood pressure. Here, an explanation could be given, for example, of circumstances that may have influenced the patient’s blood pressure, such as pain, stress, exertion and sleep/wake cycles.
| Houding | EN: Position | CD | 0..1 | data,enumeration | NL-CM:12.4.11 | The position of the patient when the blood pressure was measured. |  | HoudingCodelijst

## DiastolischEindpuntCodelijst
DiastolischEindpuntCodelijst |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.12.4.2
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Phase 4 | 255271000 | SNOMED CT | 2.16.840.1.113883.6.96 | Fase IV
Phase 5 | 255272007 | SNOMED CT | 2.16.840.1.113883.6.96 | Fase V

## HoudingCodelijst
HoudingCodelijst |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.12.4.5
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Orthostatic body position | 10904000 | SNOMED CT | 2.16.840.1.113883.6.96 | Staand
Recumbent body position | 102538003 | SNOMED CT | 2.16.840.1.113883.6.96 | Liggend
Sitting position | 33586001 | SNOMED CT | 2.16.840.1.113883.6.96 | Zittend
Position with tilt | 272587006 | SNOMED CT | 2.16.840.1.113883.6.96 | Achteroverleunend
Trendelenburg position | 34106002 | SNOMED CT | 2.16.840.1.113883.6.96 | Positie van Trendelenburg

## ManchetTypeCodelijst
ManchetTypeCodelijst |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.12.4.3
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Standaard | STD | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Standaard (Standaard manchet voor een volwassene (manchet 16x30 cm)
Groot | L | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Groot (Een manchet voor een volwassene met een armomtrek van 35 tot 44 cm (manchet 16x36 cm))
Klein | S | ManchetType | 2.16.840.1.13883.2.4.3.11.60.40.4.15.1 | Klein (Een manchet voor een volwassene met een armomtrek van 22 tot 26 cm (manchet 12x22 cm) )
Extra groot | XL | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Extra groot (Een manchet voor het dijbeen of arm wanneer de armomtrek 45 tot 52 cm is (manchet 16x42 cm))
Kind | KIND | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Maat voor kind (Een manchet voor kinderen of voor volwassenen met een dunne arm (manchet ca. 8x21 cm) )
Jong kind | JONGKIND | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Maat voor jong kind (Een manchet voor jonge kinderen (manchet ca. 5x15 cm))
Neonaat | NEONAAT | ManchetType | 2.16.840.1.113883.2.4.3.11.60.40.4.15.1 | Maat voor neonaat (Een manchet voor neonaten (manchet ca. 3x6 cm))

## MeetLocatieCodelijst
MeetLocatieCodelijst |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.12.4.4
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Upper arm structure | 40983000 | SNOMED CT | 2.16.840.1.113883.6.96 | Bovenarm
Right upper arm structure | 368209003 | SNOMED CT | 2.16.840.1.113883.6.96 | Rechter bovenarm
Left upper arm structure | 368208006 | SNOMED CT | 2.16.840.1.113883.6.96 | Linker bovenarm
Thigh structure | 68367000 | SNOMED CT | 2.16.840.1.113883.6.96 | Bovenbeen
Structure of right thigh | 11207009 | SNOMED CT | 2.16.840.1.113883.6.96 | Rechter bovenbeen
Structure of left thigh | 61396006 | SNOMED CT | 2.16.840.1.113883.6.96 | Linker bovenbeen
Wrist region structure | 8205005 | SNOMED CT | 2.16.840.1.113883.6.96 | Pols
Structure of right wrist | 9736006 | SNOMED CT | 2.16.840.1.113883.6.96 | Rechterpols
Structure of left wrist | 5951000 | SNOMED CT | 2.16.840.1.113883.6.96 | Linkerpols
Finger structure | 7569003 | SNOMED CT | 2.16.840.1.113883.6.96 | Vinger
Ankle region structure | 344001 | SNOMED CT | 2.16.840.1.113883.6.96 | Enkel
Structure of right ankle | 6685009 | SNOMED CT | 2.16.840.1.113883.6.96 | Rechterenkel
Structure of left ankle | 51636004 | SNOMED CT | 2.16.840.1.113883.6.96 | Linkerenkel

## MeetmethodeCodelijst
MeetmethodeCodelijst |  | Valueset OID: 2.16.840.1.113883.2.4.3.11.60.40.2.12.4.1
Conceptname | Conceptcode | Codesystem name | Codesystem OID | Description
Non-invasive | 22762002 | SNOMED CT | 2.16.840.1.113883.6.96 | Niet-invasief
Invasive | 10179008 | SNOMED CT | 2.16.840.1.113883.6.96 | Invasief

## Terms of Use
Disclaimer
This Health and Care Information Model (a.k.a Clinical Building Block) has been made in collaboration with several different parties in healthcare. These parties asked Nictiz to manage good maintenance and development of the information models. Hereafter, these parties and Nictiz are referred to as the collaborating parties. The collaborating parties paid utmost attention to the reliability and topicality of the data in these Health and Care Information Models. Omissions and inaccuracies may however occur. The collaborating parties are not liable for any damages resulting from omissions or inaccuracies in the information provided, nor are they liable for damages resulting from problems caused by or inherent to distributing information on the internet, such as malfunctions, interruptions, errors or delays in information or services provide by the parties to you or by you to the parties via a website or via e-mail, or any other digital means. The collaborating parties will also not accept liability for any damages resulting from the use of data, advice or ideas provided by or on behalf of the parties by means of this Health and Care Information Model. The parties will not accept any liability for the content of information in this Health and Care Information Model to which or from which a hyperlink is referred. In the event of contradictions in mentioned Health and Care Information Model documents and files, the most recent and highest version of the listed order in the revisions will indicate the priority of the documents in question. If information included in the digital version of this Health and Care Information Model is also distributed in writing, the written version will be leading in case of textual differences. This will apply if both have the same version number and date. A definitive version has priority over a draft version. A revised version has priority over previous versions.
Terms of Use
The user may use the information in this Health and Care Information Model without limitations. The copyright provisions in the paragraph concerned apply to copying, distributing and passing on information from this Health and Care Information Model.
Copyrights
The user may copy, distribute and pass on the information in this Health and Care Information Model under the conditions that apply for Creative Commons license Attribution-NonCommercial-ShareAlike 3.0 Netherlands (CC BY-NCSA-3.0). The content is available under Creative Commons Attribution-NonCommercial-ShareAlike 3.0 (see also http://creativecommons.org/licenses/by-nc-sa/3.0/nl/)